## Slide 1
BUSA PRESENTATION
17 March 2023

## Slide 2
ABOUT BUSA
2
BUSA is a confederation of business organisations including chambers of commerce and industry, professional associations, corporate associations and unisectoral organisations. It represents South African business on macro economic and high level issues that affect it at the national and international levels. BUSA’s function is to ensure that business plays a constructive role in the country’s economic growth, development and transformation and to create an environment in which businesses of all sizes and in all sectors can thrive, expand and be competitive.
As a principal representative of business in South Africa, BUSA represents the views of its members in several national structures and bodies, both statutory and non-statutory. BUSA also represents businesses' interests in the National Economic Development and Labour Council (NEDLAC).

## Slide 3
CONTEXT
Contributions made by FAPA, EIUG and Minerals Council.
Load Curtailment (LC) as envisaged in current version of NRS 048-9 is no longer suitable under current system conditions as it results in:
  Sustained implementation over a long time
  Becoming far more frequently used than was originally anticipated
  Becoming an energy conservation scheme rather than an emergency tool
  Baseline definition is no longer suitable – may lead to gaming or unintended non-compliance
  The current LC implementation is becoming much more disruptive to production and economic performance as it was not developed for continuous operation
3

## Slide 4
As a result, members are starting to report significant(3%-5%) losses of production based on last year power interruptions which are likely less than what we can expect this year
These production losses will have in the short-term to medium-term adverse effects in the economic growth, employment creation & retention, closure of marginal operations, future investments, ….
Energy intensive users already play a critical role in using their loads to stabilize the grid, in minimising peaks by reducing loads at peak periods and providing demand response to manage frequencies and other system emergencies.
Business has a role to play in contributing to solutions.
4

## Slide 5
Proposed changes
  Customers with self-generation (On & Off site) should be exempted for the amount equivalent to their generation
  This can be done by adjusting the agreed baseline by real-time self-generation or battery storage during LC
  Not only is this fair but it will mitigate against LC being a disincentive for additional private generation to close the capacity gap
  Improve and simplify Baseline determination
  Different sectors have different production patterns and that makes difficult to select a one size fits all baseline determination method e.g.:
  Annualised baseline – electricity consumption profile based on annual production for the last calendar year, adjusted for any reasonable exemptions
  Seasonal – For season dependent sectors can agree on seasonal baseline on same principle as annualised baseline i.e. last season’s numbers.
  Customer based requirements
5

## Slide 6
  Explore and formalise different options for LC
  Provide for rotation of LC among group of users so that not every user is affected by every LC
  Provide for establishment a LC market for willing participants
  Consider differentiating between energy induced LC vs capacity induced LC and develop rules accordingly
  Consider additional stages for LC
  Consider introducing additional stages of percentage production cuts before declaring essential load
  Customers with self-generation - Impacts of wheeling vs Load Shedding
  Deemed energy?
  Compensation – Net-billing?
  Banking options?
6

## Slide 7
  Need for Standardised Compliance and Monitoring Tool of LC
  To improve transparency between Consumer and SO
  Broad compliance monitoring
  Exemptions for Demand Response –
  Considerations to increase exemptions up to Stage 4 LC subject to fair and equitable contribution by all customers
  Explore further DR Options
  Procurement of Ancillary Services
  Emergency Preparedness
  Increase the number of LC Stages
  Scheduling of LS beyond Stage 8
  Notice time to Essential Load declaration to cater for safety considerations(people & plant)
  NRS 048-9 Revision standardised to bi-annual/and as required
7

## Slide 8
Demand side management: Further thoughts Agriculture focused
  The majority of farms have very similar energy needs
  Many agro-processing facilities that are deeply embedded in municipal grids
  Thus, there is a difference between those connected to Eskom vs those connected to municipal grids
    The majority of the farms and facilities feeding from the same substation prefer longer periods of uninterrupted power at night, offset by longer outages during the day.
    There should be a mechanism to give effect to this.
    Under the NRS 048 standard states that clients must be treated ‘equitably’ when the load needs to be reduced past level 4, but it doesn’t give more guidance than that. It is a gap and requires clarity.
    Some guidelines are desperately required, and it would ease the pressure on Eskom’s own officials not to operate in a vacuum.
    Agro-processors in small towns or metros where they share a sub-station with multiple other businesses are prime candidates for load curtailment, but they are not isolated from the grid.
    Guarantees are needed for companies that are willing to invest in the infrastructure required to isolate themselves (i.e. a dedicated cable to the sub-station). A guarantee that they receive load curtailment only.
8

## Slide 9
Property
Commercial and office
CHALLENGES
Regulations and policies:
The rapid uptake of solar PV over the past three years has caught national regulators by surprise and has highlighted the need for new national policies and regulations to guide and regulate the solar PV market.
Lack of capacity at the municipal level to allow for small-scale embedded generation.
Some members generate 3MW but only need 1MW excess capacity cannot be fed back to the grid.
Inconsistency of approach at the municipal level.
9

## Slide 10
Property
QUICK WINS. HOW CAN WE MOVE THE NEEDLE?
The commercial and industrial sector presents the largest near-term opportunity in this sector, accounting for about 70% of new rooftop solar PV installations nationally.
We have already lived experiences as our sector has been doing this for close to 10yrs
We need a tariff structure, national policy and regulation to govern the safe uptake of solar PV
We can rapidly deploy Solar PV projects as the banking sector is happy to fund these projects, and our assets are already connected to the grid.
Focus on education, skills development and training to build installer capacity, also aims to improve standards development and compliance in line with international best practices.
10

## Slide 11
Banking
Impacts of Loadshedding on the (your) business sector:
As a business we are well prepared for loadshedding and currently have generators and alternative solutions in place to limit the impact on our clients and our business. 90.3% of the Branches have backup power and can carry on with operations.
From a generator runtime and cost perspective we could provide severity of loadshedding in our direct cost base – this is approximately 3 - 4 times more than “normal levels” of loadshedding experienced prior to 2020.
Backup generators are under strain and the maintenance required to keep them running as well as to deal with any failure of equipment and subsequent repairs.
The consequences of defaulting clients are still being investigated but this is expected to be significant.
11

## Slide 12
Banking
If allowed to determine loadshedding scheduling, what would be key considerations for the sector?
Ideal would be to have no loadshedding, but all levels above Level 4 causes huge disruption.
For our sector, with Campuses, Branches and ATM’s distributed throughout the country in many towns, we do not have an ideal time for loadshedding. At any point in time we will be impacted by loadshedding at a number of Campuses, Branches & ATMs.
Duration of load shedding during the night – may increase the risk of burglary and theft, also potentially impacting the operation of certain alarms
Exemption of communication towers/communication networks as it impacts internet, connectivity etc.
12

## Slide 13
Banking
Load shedding times during peak hours – consideration to limit to at least an hour or less. Load shedding results in increased travel times and increased spend on petrol for staff/clients, thereby indirectly impacting transport costs e.g. taxi fare
Load shedding at month end during peak periods as it impacts SASSA grant payments – clients may not be able to access funds / clients may be impacted when travelling to certain sites due to no power and queue for additional hours whilst awaiting restoration of power (especially in remote areas)
13

## Slide 14
THANK YOU